Specification of the Building Sotia Residence Evangelou & Frantzis Developments Co Ltd

General structure

Reinforced concrete frame. Earthquake study and design. The external masonry consists of thermal insulation bricks with a thickness of 25cm. and the internal walls are 10 cm thick.

Plastering

Externally, all surfaces are made in thermo-facade, two-handed stabilizer and final decorative coating. The interior surfaces are made of 1, 2, 3 coats and painted in three layers of paint. The ceilings are trowelled and emulsified in three layers.

Sanitary ware and interior vaneer

The total cost of the bathrooms, lavatories, basins, kitchen sinks, mixer and good quality accessories, porcelain tiles:

Apartment with 1 bedroom …………………………… EURO 1300

Apartment with 2 bedroom …………………………… EURO 2500

Apartment with 3 bedroom ……………………………  EURO 2800

(The bathroom and toilet walls as well as the kitchen walls between the worktop

and wall cabinets, are fitted with coloured porcelain tiles).

Flooring

Living, dining room and kitchen floors are covered with ceramic tiles (EURO 25/m2 purchase)

Bedrooms floors are covered with laminated parquet (EURO 20/m2)             .

Verandas are covered with ceramic tiles (EURO 15/m2 purchase)

(Under the floors of the bathrooms and the verandas covered with  insulating material and three coats of cement insulation)

Fitted Furniture

Benches and kitchen cabinets exterior beech melamine peel industrial and internal melamine slabs. Bedroom cabinets outer melamine peel industrial and internal melamine slabs. The top of the bench will be covered with granite (EURO 120/m).

Exterior Doors and Windows

They are made of natural color MU3000 series aluminum and are mounted directly on the wall with all the necessary accessories. Double heat-insulating glass white.

Interior doors

All interior doors are made of white wood laminated with plywood melamine, in any paint.

The entrance door for each apartment will be fireproof and with a security lock.

Water supply

Sufficient solar water-heater with pressure system.

Electrical installation

Complete electrical and telephone installation, sufficient lighting points and sockets in every room

Provision for A/C

Provision for video entry system

Provision for electric rolex

Provision for electric heating

Main entrance of the building

At the entrance of the building will be close security system with video call connected to all apartments of the building.

All the entrance for the parking place of the building will be used with remote control.

In the rooftop surrounding the block of flats there will be security doors accessible only to the tenants.

Alterations on specifications/plans

The client can ask for alterations on pre-arrangements or on the plans, but the seller is entitles to refuse any alteration that will change the design, character or strength of the building.  There will be an extra charge depending on the type of alterations.

It is emphasized that the vendor reserves the right to make changes in coloring but also in relation to the exterior construction and layout of the building.

Note

All above mentioned prices include V.A.T.